## Sheet3
Pre and Post-Developed Condition Fixture Count Comparison
| Fixture | Existing | Existing DFU | Proposed | Proposed DFU
Type of Fixture or Group of Fixturesa | DFUa | Fixture Count | by Fixture | Fixture Count | by Fixture
Automatic Clothes Washer | 3 |  | 0 |  | 0
Bathroom Group consisting of a water closet, lavatory and bathtub or shower | 6 |  | 0 |  | 0
Bathtubb (with or without overhead shower) | 2 |  | 0 |  | 0
Bidet | 1 |  | 0 |  | 0
Clinic Sink | 6 |  | 0 |  | 0
Combination Sink and Tray with Food Waste Grinder | 4 |  | 0 |  | 0
Combination Sink and Tray with one 1 1/2 in. Trap | 2 |  | 0 |  | 0
Combination Sink and Tray with separate 1 1/2 in. Traps | 3 |  | 0 |  | 0
Dental Unit or Cuspidor | 1 |  | 0 |  | 0
Dental Lavatory | 1 |  | 0 |  | 0
Drinking Fountain | 0.5 |  | 0 |  | 0
Dishwasher, Domestic | 2 |  | 0 |  | 0
Floor Drains with 2 in. Waste | 3 |  | 0 |  | 0
Kitchen Sink, Domestic, with one 1 1/2 in. Trap | 2 |  | 0 |  | 0
Kitchen Sink, Domestic, with Food Waste Grinder | 2 |  | 0 |  | 0
Kitchen Sink, Domestic, with Food Waste Grinder and Dishwasher 1 1/2 in. Trap | 3 |  | 0 |  | 0
Kitchen Sink, Domestic, with Dishwasher 1 1/2 in. Trap | 3 |  | 0 |  | 0
Lavatory with 1 1/4 in. Waste | 1 |  | 0 |  | 0
Laundry Tray (1 or 2 Compartments) | 2 |  | 0 |  | 0
Shower Stall, Domestic | 2 |  | 0 |  | 0
Showers, Group, Per Headc | 2 |  | 0 |  | 0
Sinks: |  |  | 0 |  | 0
Surgeons | 3 |  | 0 |  | 0
Flushing Rim (with Valve) | 6 |  | 0 |  | 0
Service (trap standard) | 3 |  | 0 |  | 0
Service (P trap) | 2 |  | 0 |  | 0
Pot, scullery, etc.c | 4 |  | 0 |  | 0
Urinal, Pedestal, syphon jet blowout | 6 |  | 0 |  | 0
Urinal, Wall lip | 4 |  | 0 |  | 0
Urinal, Stall, Washout | 4 |  | 0 |  | 0
Urinal, Trough (each 6ft. Section) | 2 |  | 0 |  | 0
Wash Sink (circular or multiple) Each Set of Faucets | 2 |  | 0 |  | 0
Water Closet, Private | 4 |  | 0 |  | 0
Water Closet, Public | 6 |  | 0 |  | 0
Fixtures Not Listed Above |  |  | 0 |  | 0
Trap Size 1 1/4 in. or less | 1 |  | 0 |  | 0
Trap Size 1 1/2 in. | 2 |  | 0 |  | 0
Trap Size 2 in. | 3 |  | 0 |  | 0
Trap Size 2 1/2 in. | 4 |  | 0 |  | 0
Trap Size 3 in. | 5 |  | 0 |  | 0
Trap Size 4 in. | 6 |  | 0 |  | 0
Total DFU |  |  | 0 |  | 0
Total Theoretical Discharge (gpm) |  |  | 33.404 |  | 33.404
Estimated Wastewater Flow (=0.7(theoretical load)0.5) (gpm) |  |  | 4.0457 |  | 4.0457
aTaken from table 3-10, Gravity Sanitary Sewer Design and Construction, p43 & 44 Amercian Society of Civil Engineers
bA showerhead over a bathtub does not increase the fixture unit value
cSee Section 11.4.2 of Ref 18 for method of computing equivalent fixture unit values for devices or equipment which discharge continuous or semi-continuous flows into sanitary drainage systems.